# Replace a Wall-Mounted Air Filter Safely

Scene 1

Narration:

"Before you open the filter cabinet, power down the unit and confirm the fan has stopped."

Visual:

Technician stands at a wall-mounted ventilation unit, presses the power control, and waits for the airflow to stop before touching the access panel.

Scene 2

Narration:

"Put on gloves, open the cabinet slowly, and slide the used filter straight out to avoid releasing trapped dust."

Visual:

Gloved hands loosen the latch, open the cabinet carefully, and remove the used filter in one controlled motion while keeping the dirty side facing away.

Scene 3

Narration:

"Check the airflow arrow on the new filter and align it with the arrow marked inside the housing."

Visual:

Close view of the new filter edge and the housing label while the technician rotates the filter until both arrows line up.

Scene 4

Narration:

"Slide the new filter fully into place, close the cabinet, and restore power only after the panel is secured."

Visual:

Technician seats the filter flush, secures the cabinet latch, and then restores power at the control.